Section 3.8	REPAIRS AND MAINTENANCE

3.8.1	Internal Premises Standard

The internal environment of the processing room and bottling plant room shall be designed and constructed to ensure:

- Floors are free draining and able to be washed

- Walls and ceiling are free of flaking paint, cracks and holes.

- Doors are functioning.

- Fixtures and fittings are functioning, clean and in good repair.

3.8.2	External Premises Standard

The external environment of the premises shall be clean and tidy. The building shall be of sound construction.

3.8.3	Premises Monitoring Procedure

The building and premises shall be inspected at least annually.  This is the responsibility of the manager.

The inspection shall be recorded on the Premises Inspection form at the end of this section.

A tick (√) shall indicate an acceptable standard and a cross (X) shall indicate an unacceptable standard.  The details of the defects shall be recorded in the “Findings / Corrective Action” sections.

Staff shall report all unscheduled repairs and maintenance as they occur immediately to the manager who will notify the manager.

Corrective Action:

If a defect is identified the corrective action must be carried out as soon as possible.

The corrective action must be recorded on the

The manager must verify the completion of the corrective action.

    - Equipment Maintenance Programme

The equipment repairs and maintenance programme is the responsibility of the company manager.  The manager shall ensure the following:

Equipment Design:

- All equipment is suitable for use

- Processing equipment is suitable to facilitate effective cleaning

- All equipment is operational

Equipment for Product Contact Use

- Equipment in direct contact with the product shall be constructed of stainless steel or other smooth, impervious and cleanable materials approved and appropriate for food use.  Plastic surfaces must be suitable for food contact use.

- The design shall eliminate trapping of liquids during cleaning process.

Equipment Storage

- Equipment shall be stored in a clean condition, protected from contamination and pest.

- Equipment shall be cleaned and disinfected upon recommissioning.

During Maintenance

- Methods use shall ensure product safety is not affected.

- All mainenance personnel adhere to the company's hygiene policies.

- Chemicals used in mainenance processes shall be identified and shall not present a risk to the product.

- Machinery lubricants shall be suitable for use on food equipment.

Post-Maintenance

- The mainenance process includes ensuring tools, equipment, and materials used are removed prior to the re-commencement of production.

- Removal of debris, waste and surplus equipment on exit of maintenance area.

- Cleaning shall be carried out post-maintenance.

Mainenance Tools

- Tools shall not present a risk to the product and be in good condition.

3.8.5	Preventative Maintenance Schedule

| Item | Preventative Maintenance | Contractor | Frequency |
| --- | --- | --- | --- |

3.8.6	Unplanned Repairs and Maintenance

Staff shall notify the manager of all breakages and any necessary repairs on equipment and/or premises.  The manager shall notify and direct the maintenance staff to complete these repairs.

When equipment breakdown occurs during processing, and corrective action could pose a hazard to the production then the following must take place:

- The product and packaging to be removed from the room, Or

- The product and packaging protected, and/or

- The equipment removed from the room.

PREMISES MAINTENANCE SCHEDULE AND RECORD

| Premises Maintenance Record |  |
| --- | --- |
| External Environment - Clean, tidy, in good repair | Findings/Comments: |
| External Building - No holes in cladding - External door in good repair | Findings/Comments: |
| Internal Environment - Floors - Walls - Ceilings - Doors - Hoses - Lights / light switches - Fixtures and fittings | Findings/Comments: |
| Other areas: | Findings/Comments: |
| Inspection Completed by: | Sign: Date: |

Repairs & Maintenance Record

Date: Nature of work: Completed by: Post Repair Clean & Inspection sign:

Date: Nature of work: Completed by: Post Repair Clean & Inspection sign:

Date: Nature of work: Completed by: Post Repair Clean & Inspection sign:

| Pest Control (E = evidence of pest activity, N = no evidence of pest activity) |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Station ID | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec |
| Sign |  |  |  |  |  |  |  |  |  |  |  |  |